Chapter 09: Assessment of Cardiovascular Function

MULTIPLE CHOICE

1.	The ability of certain specialized cells of the heart to depolarize spontaneously is known as which of the following?

| a. | Diastasis | c. | Automaticity |
| --- | --- | --- | --- |
| b. | Excitability | d. | Conductivity |

ANS:	C

Automaticity describes the ability of certain specialized cells of the heart to depolarize. Diastasis refers to the long period of reduced ventricular filling that follows the rapid-filling period. Excitability is defined as the ability of a cell to respond to an electrical stimulus. Conductivity is defined as the ability of cardiac tissue to propagate an action potential.

PTS:	1	REF:	Page 281

2.	Which of the following is defined as “the ability of a cell to respond to an electrical stimulus”?

| a. | Conductivity | c. | Excitability |
| --- | --- | --- | --- |
| b. | Rhythmicity | d. | Automaticity |

ANS:	C

Excitability is defined as the ability of a cell to respond to an electrical stimulus. Conductivity refers to the ability of cardiac tissue to propagate an action potential. Automaticity describes the ability of certain specialized cells of the heart to depolarize. Rhythmicity refers to the heart’s pacemaker action potential.

PTS:	1	REF:	Page 281

3.	The ability of cardiac tissue to propagate an action potential is the definition of:

| a. | excitability. | c. | conductivity. |
| --- | --- | --- | --- |
| b. | automaticity. | d. | depolarization. |

ANS:	C

Conductivity is defined as the ability of cardiac tissue to propagate an action potential. Excitability refers to the ability of a cell to respond to an electrical stimulus. Automaticity describes the ability of certain specialized cells of the heart to depolarize. Polarization occurs when a cell becomes electrically activated.

PTS:	1	REF:	Page 281

4.	When a cell membrane of an excitable cell is exposed to a depolarizing current, which of the following occurs?

| a. | Increased influx of calcium into the cell |
| --- | --- |
| b. | Rapid influx of sodium ions into the cell |
| c. | Increased efflux of potassium out of the cell |
| d. | Rapid efflux of protein molecules out of the cell |

ANS:	B

An action potential begins when the cell membrane of the excitable cell is exposed to a depolarizing current and eventually reaches its excitation threshold potential. The initial phase of this type of action potential consists of a rapid upstroke or depolarization. This change in membrane potential to a more positive value occurs because of a rapid influx of sodium ions into the cell.

PTS:	1	REF:	Page 281

5.	A muscle cell cannot be depolarized again during which phases of an action potential?

| a. | End of 0 to the beginning of 2 | c. | End of 1 to the beginning of 4 |
| --- | --- | --- | --- |
| b. | Beginning of 1 to the end of 3 | d. | Beginning of 0 to the middle of 3 |

ANS:	D

The period from the beginning of phase 0 to the middle of phase 3 is referred to as the absolute refractory period or effective refractory period, because regardless of the strength of the stimulus, the myocyte cannot be depolarized again.

PTS:	1	REF:	Page 282

6.	Which of the following cardiac cells has the slowest action potential?

| a. | Atrial | c. | Purkinje fiber |
| --- | --- | --- | --- |
| b. | Ventricular | d. | Sinoatrial node |

ANS:	D

The slope of phase 0 of the sinoatrial node (pacemaker) is less than those of the atrial, ventricular, and Purkinje fiber action potentials, and the former often is referred to as a slow action potential, whereas the latter are called fast action potentials.

PTS:	1	REF:	Page 282

7.	Automatic electrical discharges in the myocardium normally begin within which of the following?

| a. | Bundle of His | c. | Bachmann’s bundle |
| --- | --- | --- | --- |
| b. | Sinoatrial node | d. | Atrioventricular node |

ANS:	B

The sinoatrial node , as well as the atrioventricular node, normally have action potentials that differ from those of other excitable cells of the heart. Depolarization of the sinoatrial node initiates the heartbeat by triggering a wave of excitation that spreads through the right and left atria as it moves toward the atrioventricular node.

PTS:	1	REF:	Page 282

8.	Electrical stimulation of a cardiac muscle cell is the definition of which of the following?

| a. | Contraction | c. | Polarization |
| --- | --- | --- | --- |
| b. | Refraction | d. | Depolarization |

ANS:	D

The action potential begins when the cell membrane of the excitable cell is exposed to a depolarizing current and eventually reaches its excitation threshold potential. This is known as depolarization.

PTS:	1	REF:	Page 282

9.	Which letter in the figure identifies the anterior internodal pathway?

| a. | A | c. | E |
| --- | --- | --- | --- |
| b. | C | d. | F |

ANS:	B

See Figure 9-2 in the text.

PTS:	1	REF:	Page 283, Figure 9-2

10.	Which letter in the figure identifies the cardiac cells through which there is a 100-ms delay?

| a. | A | c. | C |
| --- | --- | --- | --- |
| b. | B | d. | D |

ANS:	D

As the electrical impulse travels through the atrioventricular node, there is a 100-ms delay in the conduction. This allows the atria to become fully depolarized and contract before ventricular excitation begins. This allows the atrial contraction and emptying to contribute optimally to ventricular filling.

PTS:	1	REF:	Page 283, Figure 9-2

11.	A specialized high-speed conduction system begins at which of the following points?

| a. | A | c. | D |
| --- | --- | --- | --- |
| b. | C | d. | H |

ANS:	D

Electrical impulses move through a series of high-speed internodal conduction pathways between the sinoatrial and atrioventricular nodes.

PTS:	1	REF:	Page 283, Figure 9-2

12.	The fourth intercostal space at the left sternal margin is the site for which of the following electrocardiogram leads?

| a. | V1 | c. | V3 |
| --- | --- | --- | --- |
| b. | V2 | d. | V4 |

ANS:	B

V2 is placed in the fourth intercostal space, at the right sterna margin.

PTS:	1	REF:	Page 283, Figure 9-4, C

13.	The fifth intercostal space on the anterior axillary line is the site for which of the following electrocardiogram leads?

| a. | V3 | c. | V5 |
| --- | --- | --- | --- |
| b. | V4 | d. | V6 |

ANS:	C

V5 is located at the same level as V4 (fifth intercostal space) on the anterior axillary line.

PTS:	1	REF:	Page 283, Figure 9-4

14.	The paper speed of an electrocardiographic machine should be set at a speed of ____ mm/s.

| a. | 10 | c. | 20 |
| --- | --- | --- | --- |
| b. | 15 | d. | 25 |

ANS:	D

When an ECG is recorded, the paper speed is set at 25 mm/s, the equivalent of 1500 mm/min.

PTS:	1	REF:	Page 287

15.	Each millimeter on electrocardiographic recording paper represents _____ seconds.

| a. | 0.02 | c. | 0.20 |
| --- | --- | --- | --- |
| b. | 0.04 | d. | 0.40 |

ANS:	B

Time is recorded on the x-axis, with each millimeter representing 0.04 second.

PTS:	1	REF:	Page 287

16.	How many millimeters are between each heavy vertical line on electrocardiographic paper?

| a. | 1.0 | c. | 4.0 |
| --- | --- | --- | --- |
| b. | 2.0 | d. | 5.0 |

ANS:	D

The area between the heavy vertical lines on the electrocardiographic paper represents 5.0 mm.

PTS:	1	REF:	Page 287

17.	The time required for the atrial impulse to travel through the atrioventricular node is defined as which of the following?

| a. | P–R segment | c. | QRS interval |
| --- | --- | --- | --- |
| b. | P–R interval | d. | ST segment |

ANS:	B

The P–R interval ranges from 0.12 to 0.2 second and is the time it takes for the impulse initiated in the atria to travel through the atrioventricular node. The P–R segment occurs between the end of the P wave and the beginning of the QRS interval, corresponds to the 0.1-second delay that occurs within the atrioventricular node. The P–R segment is included in the P–R interval. The QRS interval represents ventricular depolarization, and the ST segment represents ventricular depolarization.

PTS:	1	REF:	Page 287

18.	On an electrocardiogram, the time between atrial and ventricular contraction is known as the:

| a. | P–R segment | c. | QRS interval |
| --- | --- | --- | --- |
| b. | ST segment | d. | Q–T interval |

ANS:	A

The P–R segment represents the time delay that occurs within the atrioventricular node and therefore represents the time between atrial and ventricular contractions. The ST segment occurs during ventricular depolarization, the QRS interval represents ventricular polarization, and the Q–T interval represents the time required for ventricular depolarization and repolarization to occur.

PTS:	1	REF:	Page 290

19.	The QRS complex represents which of the following?

| a. | Atrial depolarization | c. | Ventricular repolarization |
| --- | --- | --- | --- |
| b. | Ventricular depolarization | d. | Threshold potential |

ANS:	B

Ventricular depolarization is represented on the electrocardiogram as the QRS complex. The P wave represents atrial depolarization. The T wave represents ventricular repolarization. Threshold potential is the critical level of electrical excitation reached by any cell, causing an action potential to occur.

PTS:	1	REF:	Page 289

20.	The QRS vector appears downward in which of the following electrocardiogram leads?

| a. | II | c. | aVL |
| --- | --- | --- | --- |
| b. | V5 | d. | aVR |

ANS:	D

The QRS vector will normally be upward in leads I, II, aVL, and V5 and is usually downward in leads aVR and V1.

PTS:	1	REF:	Page 289

21.	On an electrocardiogram, which of the following represents ventricular repolarization?

| a. | T wave | c. | ST segment |
| --- | --- | --- | --- |
| b. | P–R interval | d. | QRS complex |

ANS:	A

Repolarization of the ventricles is represented by the T wave. The P–R interval is the time it takes for the impulse initiated in the atria to travel through the atrioventricular node. The ST segment occurs during ventricular depolarization, and the QRS complex represents ventricular depolarization.

PTS:	1	REF:	Page 289

22.	On an electrocardiogram, which of the following represents ventricular depolarization and repolarization?

| a. | P–R interval | c. | ST segment |
| --- | --- | --- | --- |
| b. | Q–T interval | d. | QRS complex |

ANS:	B

The Q–T interval is measured from the beginning of the QRS complex to the end of the T wave. It represents the time required for ventricular depolarization and repolarization to occur and also approximates the time of ventricular systole.

PTS:	1	REF:	Page 290

23.	Repolarization of the papillary muscles or remnants of ventricular repolarization appears on an electrocardiogram as a:

| a. | P wave. | c. | U wave. |
| --- | --- | --- | --- |
| b. | T wave. | d. | J point. |

ANS:	C

The U wave follows the T wave and precedes the successive P wave. It is thought to represent remnants of ventricular repolarization or repolarization of the papillary muscles.

PTS:	1	REF:	Page 289

24.	What is the heart rate shown on the following electrocardiogram?

| a. | 150 | c. | 250 |
| --- | --- | --- | --- |
| b. | 200 | d. | 300 |

ANS:	D

Isolate 3 seconds out of the strip. There are 15 cardiac cycles in a 3-second period. Multiply 15 by 20. The heart rate is 300 beats/min.

PTS:	1	REF:	Page 290

25.	What is the heart rate shown on the following ECG?

| a. | 60 | c. | 90 |
| --- | --- | --- | --- |
| b. | 78 | d. | 100 |

ANS:	D

Isolate 3 seconds out of the strip. There are 5 cardiac cycles in a 3-second period. Multiply 5 by 20. The heart rate is 100 beats/min.

PTS:	1	REF:	Page 290

26.	What is the heart rate depicted on the following electrocardiogram?

| a. | 60 | c. | 100 |
| --- | --- | --- | --- |
| b. | 80 | d. | 120 |

ANS:	B

Isolating 3 seconds out of the strip shows that there are 4 cardiac cycles in the 3-second period. Multiply 4 by 20. The heart rate is 80 beats/min.

PTS:	1	REF:	Page 290

27.	Which of the following might cause sinus tachycardia?

| a. | Vomiting | c. | Thyrotoxicosis |
| --- | --- | --- | --- |
| b. | Hypothermia | d. | Mediastinal tumors |

ANS:	C

Thyrotoxicosis, which refers to the hypermetabolic clinical syndrome that results from serum elevations in thyroid hormone, can cause sinus tachycardia. Vomiting, hypothermia, and mediastinal tumors can cause sinus bradycardia.

PTS:	1	REF:	Page 291

28.	Ingestion of large quantities of coffee may cause which of the following?

| a. | Sinus bradycardia | c. | Bundle branch blocks |
| --- | --- | --- | --- |
| b. | Junctional rhythms | d. | Premature ventricular beats |

ANS:	D

Ingestion of large quantities of coffee, which contains caffeine, can cause a healthy person to have premature ventricular beats.

PTS:	1	REF:	Page 293

29.	-Adrenergic blocking agents, such as propranolol, can cause:

| a. | sinoatrial block. | c. | sinus bradycardia. |
| --- | --- | --- | --- |
| b. | sinus tachycardia. | d. | premature atrial beats. |

ANS:	C

-Adrenergic blocking agents block stimulation by the sympathetic nervous system, causing the heart to slow down its rate. This can lead to sinus bradycardia.

PTS:	1	REF:	Page 292

30.	What is the cardiac rhythm depicted on the following electrocardiogram?

| a. | Atrial fibrillation | c. | Paroxysmal atrial tachycardia |
| --- | --- | --- | --- |
| b. | Premature atrial beats | d. | Premature ventricular contractions |

ANS:	A

Atrial fibrillation is characterized by gross irregularities in both atrial and ventricular depolarization. The P waves have been replaced by fibrillatory waves, which have caused an undulation of the baseline. Not every atrial depolarization has been transmitted by the atrioventricular node.

PTS:	1	REF:	Page 292

31.	What is the name of the following cardiac arrhythmia?

| a. | Paroxysmal atrial tachycardia | c. | Premature ventricular contractions |
| --- | --- | --- | --- |
| b. | Atrial premature depolarization | d. | Wolff-Parkinson-White syndrome |

ANS:	C

The two premature ventricular contractions shown are characterized by the absence of a P wave, wide QRS complexes, and a lack of T waves.

PTS:	1	REF:	Page 292

32.	A prolonged R–R interval indicates which of the following kinds of cardiac arrhythmia?

| a. | Atrial fibrillation | c. | Premature ventricular beats |
| --- | --- | --- | --- |
| b. | Sinoatrial block | d. | Paroxysmal atrial tachycardia |

ANS:	B

Sinoatrial blocks occur when the impulse generated at the sinoatrial node is blocked before it can enter the atrial muscle. On the electrocardiogram this is demonstrated by a sudden loss of P waves resulting from the absence of atrial depolarization. The contour of the QRS complex is normal, but the R–R intervals are usually prolonged, indicating the presence of a junctional escape rhythm.

PTS:	1	REF:	Page 295

33.	The heart block that causes “dropped” beats and that is often the result of increased parasympathetic tone is called _____ block.

| a. | Sinoatrial | c. | First-degree atrioventricular |
| --- | --- | --- | --- |
| b. | Mobitz type I | d. | Left bundle branch |

ANS:	B

Dropped beats are characteristic of second-degree atrioventricular blocks, which consist of Mobitz type I and Mobitz type II blocks. These dropped beats are a result of the atrioventricular node’s inability to conduct impulses from the sinoatrial node. Sinoatrial blocks are indicated by a sudden loss of P waves. First-degree atrioventricular blocks are indicated by a prolongation of the P–R interval. Left bundle branch blocks are indicated by the absence of Q waves in the left limb leads.

PTS:	1	REF:	Page 295

34.	Which of the following is the most characteristic electrocardiographic finding in myocardial infarction?

| a. | T wave inversion | c. | ST segment depression |
| --- | --- | --- | --- |
| b. | ST segment elevation | d. | Downward-deflected Q waves |

ANS:	D

When cardiac tissue fed by the left anterior descending and circumflex branches of the left coronary artery infarct, Q waves become abnormal most noticeably on the left precordial leads. As a result, the Q waves deflect downward instead of upward because of a lack of counterbalancing electrical forces on the affected side.

PTS:	1	REF:	Page 295

35.	What are the atrial and ventricular rates for lead I in the following electrocardiogram?

Atrial Rate        Ventricular Rate

| a. | 75 225 | c. | 300 75 |
| --- | --- | --- | --- |
| b. | 180 90 | d. | 135 45 |

ANS:	C

The strip is 2.4 seconds long, so 60 ÷ 2.4 = 25, making 25 the multiplication factor. Because there are 3 ventricular beats, the ventricular rate is 3 times 25, or 75 beats/min. There are 12 P waves, making the atrial rate 12 times 25, or 300 beats/min.

PTS:	1	REF:	Page 295

36.	The aVL lead shows the electrocardiogram in the below figure. This is indicative of the occlusion of which of the following coronary arteries?

| a. | Left coronary artery |
| --- | --- |
| b. | Circumflex artery |
| c. | Right coronary artery |
| d. | Anterior interventricular branch of the left coronary artery |

ANS:	B

The electrocardiogram strip shows ST segment elevation. This occurs in leads II, III, and aVL with the occlusion of the circumflex artery. Left coronary artery occlusion will cause an ST segment elevation in lead I and a depression in lead III. Right coronary occlusion will cause ST segment depression in precordial leads V3 and V4. An occlusion of the anterior interventricular branch of the left coronary artery will cause an ST segment elevation in lead I and an ST segment depression in lead III.

PTS:	1	REF:	Page 297, Table 9-2

37.	Isovolumetric contraction of the ventricles follows which electrocardiographic event?

| a. | P wave | c. | S wave |
| --- | --- | --- | --- |
| b. | R wave | d. | T wave |

ANS:	B

Ventricular systole begins with a period of isovolumetric contraction, which follows the peak of the R wave. Atrial systole follows the P wave. The S wave is followed by ventricular ejection. Isometric relaxation of the ventricles follows the T wave.

PTS:	1	REF:	Page 300, Figure 9-23

38.	Pressure rising in the ventricles but no blood being ejected is the definition of:

| a. | ventricular systole. | c. | isovolumetric relaxation. |
| --- | --- | --- | --- |
| b. | ventricular diastole. | d. | isovolumetric contraction. |

ANS:	D

During isovolumetric contraction, the ventricular muscle fibers shorten, but the volume of blood in the ventricle remains constant because the mitral valve, tricuspid valve, aortic valve, and the pulmonary valve remain closed.

PTS:	1	REF:	Page 300

39.	During diastasis, which of the following occurs within the ventricles?

| a. | Pressure increases. |
| --- | --- |
| b. | Blood enters slowly. |
| c. | Pressure falls dramatically. |
| d. | Blood pushes against the semilunar valves. |

ANS:	B

Rapid ventricular filling occurs when the atrioventricular valves open and lasts for approximately one third of the diastole. Two thirds of diastole consists of reduced filling, or diastasis.

PTS:	1	REF:	Page 300

40.	The right ventricle peak systolic pressure is represented by _____ millimeters of mercury.

| a. | 15 | c. | 80 |
| --- | --- | --- | --- |
| b. | 25 | d. | 120 |

ANS:	B

The systolic pressure of the right ventricle is 25 mm Hg. This pressure is higher than the pressure in the pulmonary artery (15 mm Hg).

PTS:	1	REF:	Page 300

41.	At what point in the figure do the semilunar valves close?

| a. | A | c. | C |
| --- | --- | --- | --- |
| b. | B | d. | D |

ANS:	B

In the semilunar valves and aortic and pulmonic valves, closure is associated with the dicrotic notch on the aortic pressure tracing. See Figure 9-22.

PTS:	1	REF:	Page 299, Figure 9-22

42.	At what point in the figure do the atrioventricular valves close?

| a. | B | c. | E |
| --- | --- | --- | --- |
| b. | D | d. | F |

ANS:	C

The atrioventricular valves close at the beginning of ventricular systole. See Figure 9-22.

PTS:	1	REF:	Page 299, Figure 9-22

43.	When does the atrial kick begin?

| a. | Just before atrial systole |
| --- | --- |
| b. | During atrial repolarization |
| c. | During the impulse delay in the atrioventricular node |
| d. | Simultaneously with ventricular excitation |

ANS:	C

As the impulse travels through the atrioventricular node, there is a 100-ms delay in conduction. This delay is important because it allows the atria to become fully depolarized and contract before ventricular excitation begins. This allows the atria to contract and empty, which has been dubbed atrial kick, contributing to optimal ventricular filling.

PTS:	1	REF:	Page 283

44.	Which of the following is true concerning junctional rhythms?

| a. | They produce no P waves. |
| --- | --- |
| b. | They can produce inverted P waves. |
| c. | They are only generated high in the atrioventricular node. |
| d. | Their rates can vary from 60 beats/min to 80 beats/min. |

ANS:	B

Junctional rhythms are impulses that originate in or near the atrioventricular node. The P wave may precede, coincide with, or follow the QRS, depending on the relative conduction times from the impulse’s site of origin in the atrioventricular node to the atria and ventricles. Impulses generated high in the atrioventricular node are likely to be associated with a P wave that occurs before the QRS complex, whereas impulses generated low in the atrioventricular node result in a P wave that follows the QRS complex. Because of retrograde transmission of the impulse into the atria, the P wave appears inverted in the electrocardiogram leads that face the left side of the heart: leads II, III, and aVF.

PTS:	1	REF:	Page 293

45.	The a wave on an arterial pressure tracing is a result of which of the following during a cardiac cycle?

| a. | Atrial systole | c. | Ventricular systole |
| --- | --- | --- | --- |
| b. | Atrial diastole | d. | Ventricular diastole |

ANS:	A

Atrial systole is indicated on the atrial pressure tracing as an a wave.

PTS:	1	REF:	Page 301

46.	The atrial kick becomes important to ventricular filling during which of the following?

| a. | Atrial flutter | c. | Ventricular asystole |
| --- | --- | --- | --- |
| b. | Atrial fibrillation | d. | Ventricular tachycardia |

ANS:	D

The atrial kick occurs just before the beginning of ventricular systole. Contraction of the atria normally contributes only a small amount of blood to ventricular filling. However, it can contribute a significant amount of blood to ventricular filling if the heart rate is increased and the period of diastasis is reduced. This occurs during ventricular tachycardia, because the higher heart rate results in a reduction in the volume of blood that passively enters the ventricle during atrial diastole.

PTS:	1	REF:	Page 301

47.	On an atrial pressure tracing, which wave corresponds to atrial diastole?

| a. | a wave | c. | R wave |
| --- | --- | --- | --- |
| b. | c wave | d. | P wave |

ANS:	B

The c wave occurs at the beginning of atrial diastole and coincides with the period of ventricular systole and is associated with a transient increase in atrial pressure as the pressure in the ventricle increases and forces the closed atrioventricular valves backward into the atrial chamber.

PTS:	1	REF:	Page 301

48.	Closure of the semilunar valves and opening of the atrioventricular valves is associated with which heart sound?

| a. | S1 | c. | S3 |
| --- | --- | --- | --- |
| b. | S2 | d. | S4 |

ANS:	B

The second heart sound occurs at the beginning of ventricular relaxation and is associated with closure of the semilunar valves and opening of the atrioventricular valves. The first heart sound occurs at the onset of ventricular contraction and is associated with closure of the atrioventricular valves and opening of the semilunar valves. The third heart sound occurs during early ventricular filling, and the fourth heart sound occurs during atrial contraction.

PTS:	1	REF:	Page 300

49.	A phonocardiogram is used to detect which of the following heart sounds?

| a. | S1 and S2 | c. | S3 and S4 |
| --- | --- | --- | --- |
| b. | S2 and S3 | d. | S1 and S4 |

ANS:	C

S3 and S4 are not typically heard with a stethoscope, but these sounds can be amplified and recorded graphically with a phonocardiogram.

PTS:	1	REF:	Page 301

50.	The cuff of a sphygmomanometer should be inflated to _____ mm Hg above the point when the radial pulse disappears.

| a. | 10 | c. | 30 |
| --- | --- | --- | --- |
| b. | 20 | d. | 40 |

ANS:	C

The examiner should inflate the cuff to a pressure approximately 30 mm Hg above the pressure at which the radial pulse disappears.

PTS:	1	REF:	Page 302

51.	The first sound heard, by stethoscope, when deflating a sphygmomanometer cuff is known as which of the following?

| a. | Atrial systole | c. | First heart sound |
| --- | --- | --- | --- |
| b. | Systolic pressure | d. | Diastolic pressure |

ANS:	B

The pressure at which a tapping sound is first heard as the cuff is deflated is the systolic pressure.

PTS:	1	REF:	Page 302

52.	Falsely elevated systolic and diastolic blood pressure readings can occur when using either a manual or an automatic system because of which of the following?

| a. | Improper positioning | c. | Undersized cuff |
| --- | --- | --- | --- |
| b. | Motion artifacts | d. | Improper inflation |

ANS:	C

An undersized cuff can falsely elevate readings in both manual sphygmomanometers and automated blood pressure monitoring systems.

PTS:	1	REF:	Page 303

53.	The proximal opening on a pulmonary artery catheter is used to measure:

| a. | cardiac output. | c. | pulmonary artery pressure. |
| --- | --- | --- | --- |
| b. | central venous pressure. | d. | pulmonary capillary wedge pressure. |

ANS:	B

When a pulmonary artery catheter is in the proper position, the proximal port will be located in the right atrium and can be used to monitor central venous pressure. Cardiac output can be measured by using the thermistor a few centimeters from the tip of the catheter. The pulmonary artery pressure is measured by using the distal port without balloon inflation when in the pulmonary artery. When the balloon is inflated, the distal port will measure the pulmonary capillary wedge pressure.

PTS:	1	REF:	Page 303

54.	The thermistor is located ____ cm back from the tip of a pulmonary artery catheter.

| a. | 2 | c. | 30 |
| --- | --- | --- | --- |
| b. | 10 | d. | 50 |

ANS:	A

The fourth lumen of a specially designed thermodilution catheter contains electrical wires, known as the thermistor, that is located approximately 2 cm from the tip of the catheter.

PTS:	1	REF:	Page 306

55.	Which port on a Swan-Ganz catheter is used to measure cardiac output?

| a. | Distal | c. | Proximal |
| --- | --- | --- | --- |
| b. | Inflation | d. | Thermistor |

ANS:	D

The thermistor is used to perform a thermodilution cardiac output measurement. The distal port is used to measure pulmonary pressure and when the balloon is inflated it is used to measure pulmonary capillary wedge pressure. The balloon is inflated from the inflation port. The most proximal port is used to measure central venous pressure.

PTS:	1	REF:	Page 306

56.	Which of the following lumens will not appear on a cross-sectional view of a triple-lumen pulmonary artery catheter at 20 cm back from the tip?

| a. | Distal | c. | Proximal |
| --- | --- | --- | --- |
| b. | Inflation | d. | Thermistor |

ANS:	C

The proximal port of a triple-lumen pulmonary catheter is located 30 cm back from the tip of the catheter.

PTS:	1	REF:	Page 306

57.	Other than air, the gas that is commonly used to inflate the balloon on a pulmonary artery catheter is:

| a. | helium. | c. | oxygen. |
| --- | --- | --- | --- |
| b. | nitrogen. | d. | carbon dioxide. |

ANS:	D

CO2 is sometimes used to inflate the balloon because if the balloon should rupture, the CO2 is absorbed by the tissues rather than causing an air embolism.

PTS:	1	REF:	Page 307

58.	The right heart catheterization waveform in the figure that represents pressure in the right ventricle is which of the following?

| a. | A | c. | C |
| --- | --- | --- | --- |
| b. | B | d. | D |

ANS:	B

The pressure tracing from a right heart catheterization will first show the right atrial pressure tracing, followed by the right ventricle.

PTS:	1	REF:	Page 307, Figure 9-29

59.	Pulmonary artery occlusion pressure can be used to estimate:

| a. | left-atrial preload. |
| --- | --- |
| b. | left-atrial afterload. |
| c. | left-ventricular end-diastolic pressure. |
| d. | right-ventricular end-diastolic pressure. |

ANS:	C

Pulmonary artery wedge pressure, or pulmonary artery occlusion pressure, is used as an estimate of left atrial pressure and thus preload of the left ventricle, or left-ventricular end-diastolic pressure.

PTS:	1	REF:	Page 304

60.	A pulmonary artery catheter introduced via the antecubital route is currently at the 50-cm mark and is showing the tracing below. Is there a problem with this catheter?

| a. | Yes; the balloon has ruptured. |
| --- | --- |
| b. | No; it’s in the pulmonary artery. |
| c. | Yes; it’s knotted in the right ventricle. |
| d. | No; it’s wedged in a pulmonary capillary. |

ANS:	C

When a pulmonary artery catheter is introduced through the antecubital route, the distance required to enter the pulmonary artery is between 40 and 50 cm. A catheter in at the 50-cm mark should be showing a pulmonary artery tracing. This waveform is a right ventricular waveform. Therefore, the catheter must be knotted in the right ventricle.

PTS:	1	REF:	Page 307, Figure 9-29

61.	Rupture of the pulmonary artery catheter balloon can cause which of the following?

| a. | Atrial flutter | c. | Pneumothorax |
| --- | --- | --- | --- |
| b. | Air embolism | d. | Pulmonary infarction |

ANS:	B

If air is used to inflate the balloon and the balloon ruptures, an air embolism is possible.

PTS:	1	REF:	Page 307

62.	Which of the following is a type of pressure transducer that uses a metal bellows and a Wheatstone bridge?

| a. | Resistive (or resistance) | c. | Variable inductance |
| --- | --- | --- | --- |
| b. | Strain gauge | d. | Variable capacitance |

ANS:	A

A resistive (or resistance) transducer consists of a thin metal bellows attached to four wires, forming a Wheatstone bridge. The variable capacitance transducer has a flexible diaphragm to sense pressure changes, but it is linked to an electrode. A variable inductance transducer consists of a stainless steel diaphragm attached to a soft iron core positioned between two coils.

PTS:	1	REF:	Page 308

63.	What is the cardiac output when oxygen (O2) consumption = 200 mL/min, arterial O2 content = 21 vol%, and mixed venous O2 content = 15 vol%?

| a. | 3.3 mL/min | c. | 5.3 mL/min |
| --- | --- | --- | --- |
| b. | 4.3 mL/min | d. | 6.3 mL/min |

ANS:	A

Cardiac output = oxygen consumption ÷ (arterial O2 content – mixed venous O2 content). 21 vol% = 21 mL/100 mL and 15 vol% = 15 mL/100 mL. Therefore, 200 mL/min ÷ (21 mL/100 mL – 15 mL/100 mL) 10 = 3.3 mL/min.

PTS:	1	REF:	Page 309

64.	What is the cardiac output when O2 consumption = 180 mL/min, arterial O2 content = 18.4 vol%, and mixed venous O2 content = 14.4 vol%.

| a. | 4.5 mL/min | c. | 6.5 mL/min |
| --- | --- | --- | --- |
| b. | 5.5 mL/min | d. | 7.5 mL/min |

ANS:	A

Cardiac output = oxygen consumption ÷ (arterial O2 content – mixed venous O2 content). 18.4 vol% = 18.4 mL/100 mL and 14.4 vol% = 14.4 mL/100 mL. Therefore, 180 mL/min ÷ (18.4 mL/100 mL – 14.4 mL/100 mL) 10 = 4.5 mL/min.

PTS:	1	REF:	Page 309

65.	What is the cardiac output, by using the direct Fick method, for a patient with the following hemodynamic values?

PaO2 = 80 mm Hg	SaO2 = 90%	Hb = 14 gm%

PO2 = 35 mm Hg	SO2 = 65%	PB = 760 mm Hg

O2 = 210 mL/min

| a. | 3.5 mL/min | c. | 5.83 mL/min |
| --- | --- | --- | --- |
| b. | 4.36 mL/min | d. | 6.15 mL/min |

ANS:	A

CaO2 = (Hb  1.34) SaO2 + (SaO2  0.003).

CaO2 = (14 gm%  1.34) 0.90 + (80 mm Hg 0.003).

CaO2 = 17.12 vol%.

CO2 = (Hb  1.34) SO2 + (PO2  0.003).

CO2 = (14 gm%  1.34) 0.65 + (35  0.003).

CO2 = 12.3 vol%.

Q = O2 ÷ (CaO2 – CO2) 10.

Q = 210 mL/min ÷ (17.12 mL/100 mL – 12.3 mL/100mL) 10.

Q = 4.36 mL/min.

PTS:	1	REF:	Page 309

66.	What is the cardiac index (CI) when cardiac output = 5.0 mL/min and body surface area (BSA) = 2.9 m2?

| a. | 1.72 L/min/m2 | c. | 2.10 L/min/m2 |
| --- | --- | --- | --- |
| b. | 1.67 L/min/m2 | d. | 12.5 L/min/m2 |

ANS:	A

CI = /BSA.

CI = 5.0 mL/min ÷ 2.9 m2.

CI = 1.72 mL/min/m2.

PTS:	1	REF:	Page 314

67.	Which of the following formulas represents cardiac output (CO)?

| a. | CO = cardiac index  body surface area |
| --- | --- |
| b. | CO = stroke volume  body surface area |
| c. | CO = heart rate  stroke volume |
| d. | CO = oxygen consumption  (CAO2  CaO2) |

ANS:	C

Cardiac output can be calculated by multiplying the heart rate by the stroke volume.

PTS:	1	REF:	Page 309

68.	Right-ventricular afterload can be estimated by using which equation?

| a. | (MAP)  (SV)  (0.00136) | c. | (MAP – MRAP/CO)  80 |
| --- | --- | --- | --- |
| b. | (MPAP)  (SV) (0.00136) | d. | (MPAP – MLAP/CO)  80 |

ANS:	C

The right-ventricular afterload is the resistance the right ventricle must overcome to eject blood and is estimated from calculations of pulmonary vascular resistance, which is expressed as mean pulmonary artery pressure (MPAP) minus mean left atrial pressure (MLAP) divided by cardiac output or pulmonary blood flow multiplied by a factor of 80.

PTS:	1	REF:	Page 315

69.	Systemic vascular resistance is 1700 dynes cm5. Which of the following is consistent with this value?

| a. | Elevated left-ventricular afterload | c. | Decreased left-ventricular preload |
| --- | --- | --- | --- |
| b. | Elevated right-ventricular afterload | d. | Decreased right-ventricular preload |

ANS:	A

The normal range for systemic vascular resistance is 900 to 1500 dynes cm5. Preload is defined as the filling pressure of the ventricles at the end of ventricular diastole. Afterload represents the resistance the ventricles must overcome to eject blood. Therefore, an elevated systemic vascular resistance would cause an elevated left-ventricular afterload.

PTS:	1	REF:	Page 315

70.	Which of the following represents the port on a pulmonary artery catheter used to take measurements that estimate right-ventricular end-diastolic pressure?

| a. | Distal | c. | Proximal |
| --- | --- | --- | --- |
| b. | Balloon | d. | Thermistor |

ANS:	C

The proximal port of a pulmonary artery catheter rests in the right atrium and is used to obtain central venous pressure. Central venous pressure is used to estimate the right-ventricular end-diastolic pressure. The distal port is used to measure pulmonary artery pressure. The distal port is also used to measure the pulmonary artery wedge pressure, which is an estimation of left-ventricular end-diastolic pressure. The thermistor is used to measure cardiac output.

PTS:	1	REF:	Page 306

71.	How long are adult pulmonary artery catheters?

| a. | 60 cm | c. | 100 cm |
| --- | --- | --- | --- |
| b. | 80 cm | d. | 110 cm |

ANS:	D

The standard balloon flotation catheter is 110 cm long. The pediatric catheter is 60 cm long.

PTS:	1	REF:	Page 304

72.	The display from the proximal port of a pulmonary artery catheter reads 12 cm H2O. This measurement is which of the following?

| a. | Stroke work index | c. | Pulmonary artery pressure |
| --- | --- | --- | --- |
| b. | Central venous pressure | d. | Pulmonary capillary wedge pressure |

ANS:	B

The measurement made at the proximal port of a pulmonary artery catheter is the central venous pressure.

PTS:	1	REF:	Page 306

73.	Which of the following is defined as the resistance that a ventricle must overcome to eject blood?

| a. | Stroke work | c. | Ventricular preload |
| --- | --- | --- | --- |
| b. | Stroke index | d. | Ventricular afterload |

ANS:	D

Afterload represents the resistance the ventricles must overcome to eject blood. Stroke work is defined as the force that a ventricle must produce to move a volume of blood. Stroke index refers to stroke work indexed to the BSA of the patient. Preload is defined as the filling pressure of the ventricles at the end of ventricular diastole.

PTS:	1	REF:	Page 313

74.	Which of the following will cause an increase in systemic vascular resistance?

| a. | Hydralazine | c. | Polycythemia |
| --- | --- | --- | --- |
| b. | Nitroglycerin | d. | Moderate hypoxemia |

ANS:	C

Polycythemia increases the blood viscosity, which makes it more difficult for the heart to pump the blood, resulting in an increase in systemic vascular resistance. Moderate hypoxemia, hydralazine, and nitroglycerin all reduce systemic vascular resistance.

PTS:	1	REF:	Page 315

75.	Which of the following can increase pulmonary vascular resistance?

| a. | Alveolar hypoxia | c. | Decreased parasympathetic tone |
| --- | --- | --- | --- |
| b. | Moderate hypoxemia | d. | Recruitment of pulmonary vessels |

ANS:	A

The pulmonary vascular resistance can increase significantly during periods of alveolar hypoxia.

PTS:	1	REF:	Page 313

76.	Which of the following events can lead to ventricular fibrillation?

| a. | A ventricular rate of ninety beats a minute |
| --- | --- |
| b. | A premature ventricular beat that occurs during the T wave |
| c. | The presence of saw tooth waves instead of P waves on an electrocardiogram |
| d. | An increased width of the QRS complex |

ANS:	B

A ventricular rate of ninety beats a minute is within normal limits. A premature ventricular beat during the T wave would be immediately after the relative refractory period and could lead to ventricular tachycardia or ventricular fibrillation. Saw toothed waves instead of P waves indicate that atrial flutter is present. An increased width of the QRS is associated with any ventricular arrhythmia.

PTS:	1	REF:	Page 289

77.	Which of the following lumens found in a standard balloon floatation catheter would be used to obtain a mixed venous blood sample?

| a. | Balloon lumen | c. | Proximal lumen |
| --- | --- | --- | --- |
| b. | Distal lumen | d. | Thermodilution lumen |

ANS:	B

The balloon lumen is used to inflate the balloon; this is done during insertion of the catheter and measurement of wedge pressure. The distal lumen is positioned in a branch of the pulmonary artery; it is used to measure pulmonary artery pressure, pulmonary artery occlusion pressure, and to obtain mixed venous blood sample. The proximal lumen is positioned in the right atrium and is used to measure central venous pressure. The thermodilution lumen is used to measure cardiac output.

PTS:	1	REF:	Page 304